## Sheet1
itemName | category | unit | openingStock | minimumStock | rate | location | remarks | hsnCode | commodity | mepHead
Perf. Cable Tray HDG 150mm W x 50 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 150mm W x 75 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 150mm W x 100 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 200mm W x 50 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 200mm W x 75 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 200mm W x 100 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 300mm W x 50 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 300mm W x 75 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 300mm W x 100 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 400mm W x 50 mm D x 1.6 mm T | [7 empty] | 73089090 | Cable Tray | Electrical
Perf. Cable Tray HDG 400mm W x 75 mm D x 1.6 mm T
Perf. Cable Tray HDG 400mm W x 100 mm D x 1.6 mm T
Perf. Cable Tray HDG 450mm W x 50 mm D x 1.6 mm T
Perf. Cable Tray HDG 450mm W x 75 mm D x 1.6 mm T
Perf. Cable Tray HDG 450mm W x 100 mm D x 1.6 mm T
Perf. Cable Tray HDG 600mm W x 50 mm D x 1.6 mm T
Perf. Cable Tray HDG 600mm W x 75 mm D x 1.6 mm T
Perf. Cable Tray HDG 600mm W x 100 mm D x 1.6 mm T
Perf. Cable Tray HDG 750mm W x 50 mm D x 1.6 mm T
Perf. Cable Tray HDG 750mm W x 75 mm D x 1.6 mm T
Perf. Cable Tray HDG 750mm W x 100 mm D x 1.6 mm T
Perf. Cable Tray HDG 900mm W x 50 mm D x 1.6 mm T
Perf. Cable Tray HDG 900mm W x 75 mm D x 1.6 mm T
Perf. Cable Tray HDG 900mm W x 100 mm D x 1.6 mm T
Perf. Cable Tray HDG 1000mm W x 50 mm D x 1.6 mm T
Perf. Cable Tray HDG 1000mm W x 75 mm D x 1.6 mm T
Perf. Cable Tray HDG 1000mm W x 100 mm D x 1.6 mm T
Cu. Arm. Cable XLPE 2C x 1.5 sq.mm
Cu. Arm. Cable XLPE 2C x 2.5 sq.mm
Cu. Arm. Cable XLPE 2C x 4 sq.mm
Cu. Arm. Cable XLPE 2C x 6 sq.mm
Cu. Arm. Cable XLPE 2C x 10 sq.mm
Cu. Arm. Cable XLPE 2C x 16 sq.mm
Cu. Arm. Cable XLPE 2C x 25 sq.mm
Cu. Arm. Cable XLPE 2C x 35 sq.mm
Cu. Arm. Cable XLPE 2C x 50 sq.mm
Cu. Arm. Cable XLPE 2C x 70 sq.mm
Cu. Arm. Cable XLPE 2C x 95 sq.mm
Cu. Arm. Cable XLPE 2C x 120 sq.mm
Cu. Arm. Cable XLPE 2C x 150 sq.mm
Cu. Arm. Cable XLPE 2C x 185 sq.mm
Cu. Arm. Cable XLPE 2C x 240 sq.mm
Cu. Arm. Cable XLPE 2C x 300 sq.mm
Cu. Arm. Cable XLPE 2C x 400 sq.mm
Cu. Arm. Cable XLPE 2C x 500 sq.mm
Cu. Arm. Cable XLPE 2C x 630 sq.mm
Cu. Arm. Cable XLPE 3.5C x 25 sq.mm
Cu. Arm. Cable XLPE 3.5C x 35 sq.mm
Cu. Arm. Cable XLPE 3.5C x 50 sq.mm
Cu. Arm. Cable XLPE 3.5C x 70 sq.mm
Cu. Arm. Cable XLPE 3.5C x 95 sq.mm
Cu. Arm. Cable XLPE 3.5C x 120 sq.mm
Cu. Arm. Cable XLPE 3.5C x 150 sq.mm
Cu. Arm. Cable XLPE 3.5C x 185 sq.mm
Cu. Arm. Cable XLPE 3.5C x 240 sq.mm
Cu. Arm. Cable XLPE 3.5C x 300 sq.mm
Cu. Arm. Cable XLPE 3.5C x 400 sq.mm
Cu. Arm. Cable XLPE 3.5C x 500 sq.mm
Cu. Arm. Cable XLPE 3.5C x 630 sq.mm
Cu. Arm. Cable XLPE 4C x 2.5 sq.mm
Cu. Arm. Cable XLPE 4C x 4 sq.mm
Cu. Arm. Cable XLPE 4C x 6 sq.mm
Cu. Arm. Cable XLPE 4C x 10 sq.mm
Cu. Arm. Cable XLPE 4C x 16 sq.mm
Cu. Arm. Cable XLPE 4C x 25 sq.mm
Cu. Arm. Cable XLPE 4C x 35 sq.mm
Cu. Arm. Cable XLPE 4C x 50 sq.mm
Cu. Arm. Cable XLPE 4C x 70 sq.mm
Cu. Arm. Cable XLPE 4C x 95 sq.mm
Cu. Arm. Cable XLPE 4C x 120 sq.mm
Cu. Arm. Cable XLPE 4C x 150 sq.mm
Cu. Arm. Cable XLPE 4C x 185 sq.mm
Cu. Arm. Cable XLPE 4C x 240 sq.mm
Cu. Arm. Cable XLPE 4C x 300 sq.mm
Cu. Arm. Cable XLPE 4C x 400 sq.mm
Cu. Arm. Cable XLPE 4C x 500 sq.mm
Cu. Arm. Cable XLPE 4C x 630 sq.mm
Al. Arm. Cable XLPE 2C x 2.5 sq.mm
Al. Arm. Cable XLPE 2C x 4 sq.mm
Al. Arm. Cable XLPE 2C x 6 sq.mm
Al. Arm. Cable XLPE 2C x 10 sq.mm
Al. Arm. Cable XLPE 2C x 16 sq.mm
Al. Arm. Cable XLPE 2C x 25 sq.mm
Al. Arm. Cable XLPE 2C x 35 sq.mm
Al. Arm. Cable XLPE 2C x 50 sq.mm
Al. Arm. Cable XLPE 2C x 70 sq.mm
Al. Arm. Cable XLPE 2C x 95 sq.mm
Al. Arm. Cable XLPE 2C x 120 sq.mm
Al. Arm. Cable XLPE 2C x 150 sq.mm
Al. Arm. Cable XLPE 2C x 185 sq.mm
Al. Arm. Cable XLPE 2C x 240 sq.mm
Al. Arm. Cable XLPE 2C x 300 sq.mm
Al. Arm. Cable XLPE 2C x 400 sq.mm
Al. Arm. Cable XLPE 3.5C x 25 sq.mm
Al. Arm. Cable XLPE 3.5C x 35 sq.mm
Al. Arm. Cable XLPE 3.5C x 50 sq.mm
Al. Arm. Cable XLPE 3.5C x 70 sq.mm
Al. Arm. Cable XLPE 3.5C x 95 sq.mm
Al. Arm. Cable XLPE 3.5C x 120 sq.mm
Al. Arm. Cable XLPE 3.5C x 150 sq.mm
Al. Arm. Cable XLPE 3.5C x 185 sq.mm
Al. Arm. Cable XLPE 3.5C x 240 sq.mm
Al. Arm. Cable XLPE 3.5C x 300 sq.mm
Al. Arm. Cable XLPE 3.5C x 400 sq.mm
Al. Arm. Cable XLPE 4C x 4 sq.mm
Al. Arm. Cable XLPE 4C x 6 sq.mm
Al. Arm. Cable XLPE 4C x 10 sq.mm
Al. Arm. Cable XLPE 4C x 16 sq.mm
Al. Arm. Cable XLPE 4C x 25 sq.mm
Al. Arm. Cable XLPE 4C x 35 sq.mm
Al. Arm. Cable XLPE 4C x 50 sq.mm
Al. Arm. Cable XLPE 4C x 70 sq.mm
Al. Arm. Cable XLPE 4C x 95 sq.mm
Al. Arm. Cable XLPE 4C x 120 sq.mm
Al. Arm. Cable XLPE 4C x 150 sq.mm
Al. Arm. Cable XLPE 4C x 185 sq.mm
Al. Arm. Cable XLPE 4C x 240 sq.mm
Al. Arm. Cable XLPE 4C x 300 sq.mm
Al. Arm. Cable XLPE 4C x 400 sq.mm
Cu. Flex. Cable 1C x 1.0 sq.mm
Cu. Flex. Cable 1C x 1.5 sq.mm
Cu. Flex. Cable 1C x 2.5 sq.mm
Cu. Flex. Cable 1C x 4 sq.mm
Cu. Flex. Cable 1C x 6 sq.mm
Cu. Flex. Cable 1C x 10 sq.mm
Cu. Flex. Cable 1C x 16 sq.mm
Cu. Flex. Cable 1C x 25 sq.mm
Cu. Flex. Cable 1C x 35 sq.mm
Cu. Flex. Cable 1C x 50 sq.mm
Cu. Flex. Cable 1C x 70 sq.mm
Cu. Flex. Cable 1C x 95 sq.mm
Cu. Flex. Cable 1C x 120 sq.mm
Cu. Flex. Cable 1C x 150 sq.mm
Cu. Flex. Cable 1C x 185 sq.mm
Cu. Flex. Cable 1C x 240 sq.mm
Cu. Flex. Cable 1C x 300 sq.mm
Cu. Flex. Cable 1C x 400 sq.mm
Cu. Flex. Cable 1C x 500 sq.mm
Cu. Flex. Cable 1C x 630 sq.mm
Cu. Flex. Cable 2C x 1.5 sq.mm
Cu. Flex. Cable 2C x 2.5 sq.mm
Cu. Flex. Cable 2C x 4 sq.mm
Cu. Flex. Cable 2C x 6 sq.mm
Cu. Flex. Cable 2C x 10 sq.mm
Cu. Flex. Cable 3C x 1.5 sq.mm
Cu. Flex. Cable 3C x 2.5 sq.mm
Cu. Flex. Cable 3C x 4 sq.mm
Cu. Flex. Cable 3C x 6 sq.mm
Cu. Flex. Cable 3C x 10 sq.mm
Cu. Flex. Cable 4C x 1.5 sq.mm
Cu. Flex. Cable 4C x 2.5 sq.mm
Cu. Flex. Cable 4C x 4 sq.mm
Cu. Flex. Cable 4C x 6 sq.mm
Cu. Flex. Cable 4C x 10 sq.mm
Cu. Flex. Cable 4C x 16 sq.mm
Cu. Unarm. Cable XLPE 1C x 1.5 sq.mm
Cu. Unarm. Cable XLPE 1C x 2.5 sq.mm
Cu. Unarm. Cable XLPE 1C x 4 sq.mm
Cu. Unarm. Cable XLPE 1C x 6 sq.mm
Cu. Unarm. Cable XLPE 1C x 10 sq.mm
Cu. Unarm. Cable XLPE 1C x 16 sq.mm
Cu. Unarm. Cable XLPE 1C x 25 sq.mm
Cu. Unarm. Cable XLPE 1C x 35 sq.mm
Cu. Unarm. Cable XLPE 1C x 50 sq.mm
Cu. Unarm. Cable XLPE 1C x 70 sq.mm
Cu. Unarm. Cable XLPE 1C x 95 sq.mm
Cu. Unarm. Cable XLPE 1C x 120 sq.mm
Cu. Unarm. Cable XLPE 1C x 150 sq.mm
Cu. Unarm. Cable XLPE 1C x 185 sq.mm
Cu. Unarm. Cable XLPE 1C x 240 sq.mm
Cu. Unarm. Cable XLPE 1C x 300 sq.mm
Cu. Unarm. Cable XLPE 1C x 400 sq.mm
Cu. Unarm. Cable XLPE 2C x 1.5 sq.mm
Cu. Unarm. Cable XLPE 2C x 2.5 sq.mm
Cu. Unarm. Cable XLPE 2C x 4 sq.mm
Cu. Unarm. Cable XLPE 2C x 6 sq.mm
Cu. Unarm. Cable XLPE 2C x 10 sq.mm
Cu. Unarm. Cable XLPE 3C x 1.5 sq.mm
Cu. Unarm. Cable XLPE 3C x 2.5 sq.mm
Cu. Unarm. Cable XLPE 3C x 4 sq.mm
Cu. Unarm. Cable XLPE 3C x 6 sq.mm
Cu. Unarm. Cable XLPE 3C x 10 sq.mm
Cu. Unarm. Cable XLPE 3C x 16 sq.mm
Cu. Unarm. Cable XLPE 4C x 1.5 sq.mm
Cu. Unarm. Cable XLPE 4C x 2.5 sq.mm
Cu. Unarm. Cable XLPE 4C x 4 sq.mm
Cu. Unarm. Cable XLPE 4C x 6 sq.mm
Cu. Unarm. Cable XLPE 4C x 10 sq.mm
Cu. Unarm. Cable XLPE 4C x 16 sq.mm
Cu. Unarm. Cable XLPE 4C x 25 sq.mm
Cu. Unarm. Cable XLPE 4C x 35 sq.mm
Cu. Unarm. Cable XLPE 4C x 50 sq.mm
Cu. Unarm. Cable XLPE 4C x 70 sq.mm
Cu. Unarm. Cable XLPE 4C x 95 sq.mm
Cu. Unarm. Cable XLPE 4C x 120 sq.mm
Ceiling Fan 1200mm Sweep
Exhaust Fan PVC 300mm Sweep
Exhaust Fan Heavy Duty 450mm Sweep
CO₂ Fire Extinguisher 2Kg
Unmanned Fire Extinguisher 5Kg
Fire Bucket with Sand
Earthing Strip GI 25 x 6 mm
Earthing Strip GI 50 x 6 mm
MS Channel 100*50*6
Safety Helmet
Grinder Machine AG-4
PVC Pipe Dia 25 mm HMS - AKG
Pvc Deep Junction Box 25 mm 2 way
Pvc Deep Junction Box 25 mm 3 way
PVC Bend Dia 25 mm
PVC Socket Dia 25 mm
PVC Pipe Dia 32 mm MMS
PVC Pipe Dia 32 mm HMS
PVC Pipe Dia 40 mm MMS
PVC Bend Dia 32 mm
PVC Saddle Dia 25 mm
Ms Conduit Dia 20 mm
Ms Conduit Dia 25 mm
Ms Conduit Dia 32 mm
Ms Surface Junction Box 20 mm 3way Pin Type
Ms Surface Junction Box 25 mm 2way Pin Type
Ms Surface Junction Box 25 mm 3way Pin Type
Ms Inspection Bend 20 mm Pin Type
Ms Inspection Bend 25 mm Pin Type
Ms Surface Junction Box 32 mm 2way Pin Type
Ms Surface Junction Box 32 mm 3way Pin Type
Ms Solid Bend 32 mm Pin Type
Leather Apron
Leather Hand Gloves
Welding Rod 3.15 mm
Welding Rod 4 mm
GI Nut Bolt 10x40 mm
GI Washer 10 mm
Safety Shoes
Cutting Wheel 14 inch
Marker
Zoom Goggle
Ring Spanner 12x13
D-Spanner 12x13
Aluminium Paint
Safety Jacket Orange
Octagonal GI Pole-9M
MCB Box 4way IP65
Welding Machine 1 Phase
Hammer Machine Cordless (Hilti)
Hammer Machine 3 Gear
Chopshaw Machine 14 inch
Measurement Tape 30 Mtr
Measurement Tape 5 mtr
Measurement Tape 15 Mtr
Plier
Hand Drill Machine
Tester
Screw Driver Set
Wire Stripper
D Spanner 11x12
Spirit Level
Ring Spanner 11x12
Ring Spanner 6-24
D Spanner 6-24
Mini Hacksaw Frame
Big Hacksaw Frame
Goti Set Big
Safety Belt
Extension Board
Safety Helmet Yellow
Safety Helmet Voilet
Fire Extinguisher
Earth Tester
Crimping Tool 1.5 To 16 Sqmm
Ghan 5 Kg
Life Line Rope
Hammer 1Kg
Thread Cutter Machine
Allen Key set
Wire Cutter
Monkey Plier
Continuty Tester
GI Wooden Screw 50x38 mm
Pvc Gitti 50x8 mm
Grinding Wheel AG-4
Paint Brush 1 inch
Paint Brush 2 inch
Line Dori
Safety Nose Mask
Pvc Tape Yellow
Pvc Tape Red
Pvc Tape Blue
Pvc Tape Green
Pvc Tape Black
Lifting Belt 10 Ton 3 Mtr
Lifting Belt 6 Ton 3 Mtr
Male Top 16 Amp
Female Top 16 Amp
Ms Bit 12 mm
Ms Bit 10 mm
hammer Bit 12 mm
Welding Rod 6013 x 3.15 10 No.
Cutting Wheel AG-14 inch Bosch Make
Safety Glass Black
Chuna
GI Saddle 25 mm
GI Saddle 20 mm
16 Amp 3 Pin Socket Top
Pvc Solvent
Cello Tape 2 inch
Industrial Y Socket 16 Amp 3 Pin
10 Amp 1 Way Switch - SIGNIA (Havells)
10 Amp 2 Way Switch - SIGNIA (Havells)
16 Amp 1 Way Switch - SIGNIA (Havells)
6 Amp 3 Pin Socket - SIGNIA (Havells)
16 Amp 3 Pin Socket - SIGNIA (Havells)
2M Fan Regulator - SIGNIA (Havells)
TV Socket - SIGNIA (Havells)
4M Cover Plate - SIGNIA (Havells)
8M Cover Plate (H) - SIGNIA (Havells)
Blank Plate -1M - SIGNIA (Havells)
Smart Touch Switch 16 Amp - Panasonic
6M Cover Plate - Panasonic
1M Fan Regulator - Panasonic
Grinder Machine AG-5
Wall Cutting Blade AG-4
Cutting Wheel AG-4
Service Cable 3C x 2.5 Sqmm
Right Angle
Multimeter - Escorp
Chisel 10 inch
Service Cable 2C x 1.5 Sqmm
Scaffolding Wheel 6 inch
Aluminium Ladder 5 Mtr
Printer - HP
Camera - EZVIZ
Aluminium Scaffolding 6 Mtr
Grinding Face Sheild
Drill Chuck With Adapter
Power Cable 4C x 2.5 Sqmm
Screw Driver + -
Iron Almirah
Table
Plastic Chair
Aluminium Ladder 3 Mtr A Type
Thread Cutter Die Set - Inder
Hand Die set
Vice
Pipe Bending Machine
Flood Light 100 W
Safety Helmet Green
Safety Helmet Red
Welding Helmet
MS Fan Box
Screw Driver Big
DIE 20 mm
DIE 25 mm
Hand Crimping Tool 1.5 To 16 Sqmm
Hydraulic Crimping Tool 16 To 300 Sqmm
Round File 10 inch
Flat File 10 inch
Side Cutter
T- Pana 8 No
T- Pana 10 No
T- Pana 11 No
Slide Wrench 10 inch
Goti Set - Taparia
Measurement Tape 50 Mtr
Welding Holder
Grinder Machine AG-7
Heat Gun
Air Blower Machine
Chain Pully
Pvc Rope
Spring For Pvc Pipe Bending
25 mm 3way CI Box (P-4)
Earthing Connector
Earthing Clamp
Black Screw 25/6
Thermocol 2 inch
25NB One Side S/w & One Side Thread Elbow
25NB S/w Elbow
Chipping Bit 14 mm
Male Adaptor For Welding Machine
Pvc Cable Tie 350 mm
Fire Extinguisher 4 Kg
Safety White Goggles
Steel Wire Brush 4 inch
Paint Thinner
GI Screw 6 x 20 mm
Magnetic Star Bit
1 Way 40NB & 3 Way 25NB S/w Cross
40NB S/w Elbow
NBR Insulation Rubber Sheet 1000x1000x6 mm
Enamel Paint
Lifting Belt 5 Ton 3 Mtr
D Spanner 6x7
D Spanner 8x9
D Spanner 14x15
D Spanner 16x17
D Spanner 18x19
D Spanner 20x22
D Spanner 21x23
D Spanner 24x27
D Spanner 25x26
D Spanner 28x28
D Spanner 30x32
D Spanner 34x36
Ring Spanner 6x7
Ring Spanner 8x9
Ring Spanner 10x11
Ring Spanner 14x15
Ring Spanner 16x17
Ring Spanner 18x19
Ring Spanner 20x22
Ring Spanner 21x23
Ring Spanner 22x24
Ring Spanner 24x26
Ring Spanner 24x27
Ring Spanner 25x28
Ring Spanner 30x32
Ring Spanner 34x36
Service Cable 4C x 2.5 Sqmm
Service Cable 4C x 4 Sqmm
Pvc Gland PG 63 mm
6 Amp Switch S. Grey - Wipro Artisa
6 Amp Socket S. Grey - Wipro Artisa
16 Amp Socket S. Grey - Wipro Artisa
Fan Regulator S. Grey - Wipro Artisa
RJ 11 Telephone Socket S. Grey - Wipro Artisa
Blanker Plate S. Grey - Wipro Artisa
3M Plate S. Grey - Wipro Artisa
4M Plate S. Grey - Wipro Artisa
6M Plate S. Grey - Wipro Artisa
8 Way SPN Double Door IP43 DB - L&T
12 Way SPN Double Door IP43 DB - L&T
6+2 Way TPN PPI Horizontal Double Door IP43 DB - L&T
8 Way TPN PPI Horizontal Double Door IP43 DB - L&T
12+2 Way TPN PPI Horizontal Double Door IP43 DB - L&T
Loose Wire Box For 8 Way SPN Double Door IP43 - L&T
Loose Wire Box For 6 Way TPN Double Door IP43 - L&T
Loose Wire Box For 8 Way TPN Double Door IP43 - L&T
Loose Wire Box For 12 Way TPN Double Door IP43 - L&T
63 Amp 4 Pole MCB - C Curve - 10KA - L&T
32 Amp 4 Pole MCB - C Curve - 10KA - L&T
25 Amp 2 Pole RCCB - 30MA - L&T
63 Amp 2 Pole RCCB - 30MA - L&T
32 Amp 1 Pole MCB - C Curve - 10KA - L&T
20 Amp 1 Pole MCB - C Curve - 10KA - L&T
16 Amp 1 Pole MCB - C Curve - 10KA - L&T
Drill Machine 220 GBH
Welding Rod 3.15 MM - Kingbond
Welding Rod 4 MM - Kingbond
Ms Angle 40x40x5 mm
GI Conduit Dia 32 mm
GI Wooden Screw 35x8 mm
Safety Jacket Red
Safety Jacket Green
Pvc Cable Tie 150 mm
Pvc Gitti 35x8 mm
Wall Chaser Machine
Grease Gun Manual
GI Washer 8 MM
GI Nut 4 MM
Safety Shoes Worker - Komico
Safety Belt - Udyogi
Rope Pulley Block Single
Aluminum Sprit Level With Magnet 30 CM
Aluminum Sprit Level With Magnet 60 CM
Welding Machine 3 Phase
Portable Conduit Pipe Bender
D Spanner 6-32
Lifting Belt 3 Ton 3 Mtr
D Shackle 6 Ton
Chain Pulley Block Single
Chopshaw Machine 14 inch - KPT
Magnetic Stand Drill Machine - KPT
Hand Drill Machine - KPT
Hammer Machine 3 Gear - KPT
Welding helmet
Cotton Hand Gloves
Male Top 32 Amp
Fire Extinguisher ABC Type 4.5 Kg
Fire Blanket 2x1 Mtr
Danger Tape
Main Power DB
Welding Glass Black
Safety helmet White
Knives
Grinding Wheel AG-5
Utensil Set
Level Pipe
Masking Tape
Welding Lead
Welding connector
Safety Shoes Worker - Agarson Crusher
Female Top 32 Amp
Chop saw wheel 14 inch
Safety Shoes Worker
Safety Shoes Staff
4 MPN Indicator Red
Mushroom Head Push Button
Control Box XALD02 For Push Button - Schneider
Box Spanner 12x13
Hammer 2 Kg
Anchor Bolt Fastener 10 mm
GI Nut Bolt 6 mm
Silver Paint
Aluminium lugs 25 mm Ring Type (8-10 mm Hole Diameter
Aluminium lugs 95 mm Ring Type
6 Amp Switch - Panaonic
6 Amp Socket - Panaonic
10 Amp Switch - Panasonic Roma
2 Module Plate - Panasonic
3 Module Plate - Panasonic
4/25 mm Machinery Screw For JB
Hydraulic Crimping Tool 16 To 400 Sqmm
Bullet Fastener 10 mm
Smoke Grey Paint
Crimping Tool 1.5 To 4.6 Sqmm
Multimeter - Mastech
Hacksaw Blade Big
SS Nut Bolt 6x40 mm
SS Spring Washer 6 mm
SS Nut Bolt 10x40 mm
Hacksaw Blade Mini
Chisel Bit
Hammer Bit 6 mm
Welding Glass White
SS Nut Bolt 10x50 mm
GI Spring Washer 10 mm
Copper Lugs 2.5 Sqmm Ring Type Insulated
Copper Lugs 4.6 Sqmm Ring Type (8 mm Hole Diameter)
Tubular Lugs 2.5 Sqmm Pin Type
Tubular Lugs 1.5 Sqmm Pin Type
Tubular Lugs 4 Sqmm Pin Type
Copper Lugs 10 Sqmm Ring Type (6 mm Hole Diameter)
GI Saddle Base 25 mm
GI Saddle Screw
Aluminium Thimble 400 Sqmm
Pvc Ferrule Sleeve 6 mm
SS Spring Washer 8 mm
Pvc Cable Tie 100 mm
T Pana 12 No
T Pana 14 No
T Pana 15 No
Fire Pump 10 HP (3000 RPM) - Kirloskar
L.T. Control Panel Board For Fire Pump
Display PCB - VCC - XXA Series IDU
Pvc Flexible Pipe 25 mm HMS Black
Pvc Connector Strip 16 Amp
Copper Lugs 6 Sqmm Ring Type
Copper Lugs 4.6 Sqmm Pin Type
Aluminium Lugs 400 Sqmm Ring Type (16 mm Hole Diameter)
Aluminium Lugs 150 Sqmm Ring Type (10 mm Hole Diameter)
Aluminium Lugs 50 Sqmm Ring Type (6-10 mm Hole Diameter)
Aluminium Lugs 25 Sqmm Ring Type (6-10 mm Hole Diameter)
Aluminium Lugs 70 Sqmm Ring Type (6-10 mm Hole Diameter)
Aluminium Lugs 6 Sqmm Ring Type (6-10 mm Hole Diameter)
Aluminium Lugs 300 Sqmm Ring Type (10 mm Hole Diameter)
Copper Lugs 150 Sqmm Ring Type (10 mm Hole Diameter)
Aluminium Lugs 185 Sqmm Ring Type (10 mm Hole Diameter)
Copper Lugs 16 Sqmm Ring Type (6 mm Hole Diameter)
Perf. Cable Tray 50 mm W x 20 mm D x 2 mm T
Steel Support 40 x 6 mm For Cable Tray
GI Wire 8 SWG
HDPE Pipe 50 mm
2 Module GI Box - Panasonic Roma
3 Module GI Box - Panasonic Roma
4 Module GI Box - Panasonic Roma
6 Module GI Box - Panasonic Roma
8 Module GI Box - Panasonic Roma
12 Module GI Box - Panasonic Roma
2 Module Pvc Plate - Panasonic Roma
3 Module Pvc Plate - Panasonic Roma
4 Module Pvc Plate - Panasonic Roma
6 Module Pvc Plate - Panasonic Roma
8 Module Pvc Plate - Panasonic Roma
12 Module Pvc Plate - Panasonic Roma
GI Nut Bolt 8 x 35 mm
6 Amp Socket - Panasonic Roma
16 Amp Switch - Panasonic Roma
16 Amp Socket - Panasonic Roma
32 Amp Mini MCB SP - Panasonic Roma
GI Perf. Cable Tray 150 mm W x 50 mm D x 1.6 mm T
GI Perf. Cable Tray 100 mm W x 50 mm D x 1.6 mm T
GI Perf. Cable Tray 150 mm W x 25 mm D x 1.6 mm T
GI Perf. Cable Tray 50 mm W x 50 mm D x 1.6 mm T
Powder Coated Perf. Cable Tray 150 mm W x 50 mm D x 1.6 mm T
Powder Coated Ladder Cable Tray 150 mm W x 50 mm D x 1.6 mm T
Powder Coated Ladder Cable Tray 450 mm W x 50 mm D x 1.6 mm T
GI Ladder Cable Tray 300 mm W x 40 mm D x 1.6 mm T
GI Ladder Cable Tray 900 mm W x 75 mm D x 1.6 mm T
GI Ladder Cable Tray 450 mm W x 75 mm D x 1.6 mm T
GI Ladder Cable Tray 600 mm W x 75 mm D x 1.6 mm T
Tray Channel
Tray Cover 100 mm
Tray Cover 150 mm
GI Strip 50 x 6 mm
GI Strip 25 x 6 mm
GI Strip 25 x 3 mm
GI Busbar 150 x 10 mm
GI Threaded Rod 10 mm
GI Threaded Rod 8 mm
Pvc Conduit Pipe 20 mm HMS - AKG
Pvc Conduit Pipe 25 mm HMS - AKG
Pvc Conduit Pipe 32 mm HMS - AKG
Pvc Conduit Pipe 40 mm HMS - AKG
Copper Plate 600 x 600 x 3 mm - VTR
GI Watering Pipe Dia 48 mm x 3 Mtr
Copper Conductor 25 x 3 x 1 Run
Earth Enhancement Compound 25 KG
GI Plate 600 x 600 x 6mm - VTR
GI Conductor 25 x 6 x 1 Run
GI Earthing Electrode 40 mm Dia 4.5 Mtr GI B Class Pipe
GI Earthing Electrode 20 mm Dia Medium Class GI Pipe
CI Pit Cover 300 x 300 mm
GI Strip 32 x 6 mm - VTR
GI Wire 6 SWG - VTR
Copper Strip 40 x 6 mm - VTR
GI Strip 40 x 6 mm - VTR
Copper Strip 75 x 6 mm - VTR
Aluminium Lugs 16 Sqmm Ring Type - Dowell's
Copper Lugs 70 Sqmm Ring Type - Dowell's
Copper Lugs 50 Sqmm Ring Type - Dowell's
Copper Lugs 25 Sqmm Ring Type - Dowell's
Copper Lugs 16 Sqmm Ring Type - Dowell's
Brass Gland DBW-012 - Dowell's
Brass Gland DBW-011 - Dowell's
Brass Gland DBW-07 - Dowell's
Brass Gland DBW-04 - Dowell's
Brass Gland DBW-10 - Dowell's
Brass Gland DBW-06 - Dowell's
Brass Gland DBW-03 - Dowell's
Brass Gland DBW-02 - Dowell's
GI Solid Bend 25mm - AKG
GI Surface Junction Box 25 mm 4way Pin Type - AKG
GI Pipe 25 mm - AKG
GI Surface Junction Box 25 mm 2way Pin Type - AKG
GI Surface Junction Box 25 mm 3way Pin Type - AKG
GI Inspection Bend 25 mm Pin Type - AKG
GI Saddle Base 25 mm - AKG
Aluminium Lugs 300 Sqmm Ring Type - Dowell's
Aluminium Lugs 185 Sqmm Ring Type - Dowell's
Aluminium Lugs 70 Sqmm Ring Type - Dowell's
Aluminium Lugs 25 Sqmm Ring Type - Dowell's
Copper Lugs 150 Sqmm Ring Type - Dowell's
Copper Lugs 10 Sqmm Ring Type - Dowell's
Copper Lugs 6 Sqmm Ring Type - Dowell's
Welding Rod 3.15 mm - Maruti
Welding Rod 2.50 mm - Maruti
Cutting Wheel AG-5
Wall Cutting Blade AG-5
Ms Bit 6 mm
Ms Bit 8 mm
Chisel Big
Chisel Small
Binding Wire
Steel Wire
Drill Machine GSB 600
Wooden Ladder A Type 12 Feet
Wooden Ladder A Type 10 Feet
Wooden Ladder 8 Feet
Pipe Spring Dia 20 mm
Pipe Spring Dia 25 mm
Pipe Spring Dia 32 mm
Pvc Tape Brown
Cotton Hand Gloves Dotted
Safety Shoes Worker - Agarson-Power
Boiler Suit
Copper Flex Cable FRLS 3 C x 2.5 Sqmm - Polycab
Copper Flex Cable FRLS 1 C x 16 Sqmm Green - Polycab
Copper Armoured XLPE FS Cable 3C x 2.5 mm
Copper Armoured XLPE FS Cable 3C x 1.5 mm
White Jacket
Black Goggles
Anchor Bolt-12mm
Cable Roller
Cable Jack
Copper Lugs 4 Sqmm Ring Type - Dowell's
Copper Lugs 2.5 Sqmm Ring Type - Dowell's
Pvc Surface Junction Box 25 mm 1way - AKG
Pvc Surface Junction Box 25 mm 2way - AKG
Pvc Surface Junction Box 25 mm 3way - AKG
Pvc Bend 25 mm HMS - AKG
Ms Lighting Junction Box 175 x 175 x 75 mm Blue
Ms Lighting Junction Box 175 x 175 x 75 mm Siemens Grey
Pvc Lighting Junction Box IP66 104 x 104 x 70 mm - Hensel
Wall Fan - Philips
cable Calmp
Ms Bend 25 mm Pin Type
Ms Short Bend 25 mm Pin Type
Ms Surface Junction Box 25 mm 4way Pin Type
Pvc Surface Junction Box 25 mm 3way Black
Pvc Surface Junction Box 25 mm 4way Black
Pvc Deep Junction Box 25 mm 3way Black
Pvc Deep Junction Box 25 mm 4way Black
Counter Sleeve For Mounting Rail 8-12
Counter Sleeve For Mounting Rail 28-34
GI Pipe 32 mm
Pvc Surface Junction Box 25 mm 3way White
Pvc Surface Junction Box 25 mm 4way White
Pvc Deep Junction Box 25 mm 3way White
Pvc Deep Junction Box 25 mm 4way White
Pvc Bend 25 mm
Pvc Conduit Dia 20 mm - Precision
GI Conduit Dia 25mm
Gate Post Lamp - Bajaj
GI Wire 10 SWG
Pin Insulator 11 KV
Pin Insulator 33 KV
Vehicle Jack
Black Paint
Lighting DB
Socket DB
25 W Led Light
10 W Led Light - havells
Flood Light 200 W
Pallet Lifting Trolley
Self Screw Machine - Bosch
Pipe Wrench 10 inch
Grinder Key
Pvc Earthing Strip Sleeve Green
Hammer Machine Guard AG-5
Hammer Machine Handle AG-5
Plasma Cutting Machine
DI Earthing Cover 600 x 600 mm
CI Earthing Cover 250 x 250 mm
Earthing Marking Plate
Pvc Earthing Chamber with Cover
Earthing Boggi
Earthing Compound 25 Kg
Copper Busbar Box 200 x 150 x 1000 mm
J Clamp For Mounting Light
Tray Coupling Patti
GI Wire 10 SWG
Scaffolding Clamp
Scaffolding Platform
Aluminium Single Ladder 3.5 Mtr
Aluminium Single Ladder 4.5 Mtr
Aluminium Single Ladder 6 Mtr
Hammer Machine 1 Gear - Bosch
Fire Extinguisher 5Kg
Water Tank 500 Ltr
AC To DC Converter
Hammer 10 Kg
Grinding Wheel AG-7
3 CFL Inverter
Inverter Battery
HPDP Pipe 32 mm
MS Pipe 200 NB - Jindal
Ceiling Fan Coil
Ms Channel 150 x 800 x 7 mm
Ms Channel 75 x 40 x 5 mm
Ms Channel 100 x 45 x 5 mm
Ms Angle 130 x 130 x 10 mm
MS Chakkar Plate 6 mm
Panel Frame
Cooler Frame
Copper Flex. Wire FRLS 1 C x 1.5 mm Red - Finolex
Copper Flex. Wire FRLS 1 C x 1.5 mm Yellow - Finolex
Copper Flex. Wire FRLS 1 C x 1.5 mm Blue - Finolex
Copper Flex. Wire FRLS 1 C x 1.5 mm Black - Finolex
Copper Flex. Wire FRLS 1 C x 1.5 mm Green - Finolex
Copper Flex. Wire FRLS 1 C x 6 mm Red - Finolex
Copper Flex. Wire FRLS 1 C x 6 mm Yellow - Finolex
Copper Flex. Wire FRLS 1 C x 6 mm Blue - Finolex
Copper Flex. Wire FRLS 1 C x 6 mm Black - Finolex
Copper Flex. Wire FRLS 1 C x 6 mm Green - Finolex
Comealong Calmp For 181 Sqmm
Comealong Calmp For 288 Sqmm
Single Sheave Pulley Close Cap. 2.5 Ton
Wire Rope Sling 16 mm x 3 Mtr
Wire Rope Sling 16 mm x 4.5 Mtr
Wire Rope Sling 16 mm x 10 Mtr
Contact Wire Twister Cum Bender
Contact Wire Splicing Jig.
PP Rope 20 mm - Kohinoor
PP Rope 16 mm - Kohinoor
PP Rope 12 mm - Kohinoor
Earthing Discharge Rod 25 KV
Safety Belt Full Body Harness
Rubber Hand Gloves
DN Leather Tool Bag
HRC Fuse 6A
HRC Fuse 16A
Safety Shoes Worker - Allen Cooper
Tiles 4 x 2 Ft.
Dhoti
Hammer Machine Charger - Bosch
Pvc Socket 25 mm HMS - AKG
Pvc Deep Junction Box 25 mm 2way - AKG
Pvc Deep Junction Box 25 mm 3way - AKG
Pvc Deep Junction Box 25 mm 4way - AKG
Pvc Surface Junction Box 25 mm 4way - AKG
Ms Fan Box - AKG
Pvc Conduit Pipe 25 mm MMS - AKG
Hammer Machine Battery - Bosch
Chisel 5 inch
Pvc Deep Junction Box 25 mm 1way - AKG
Hammer Bit 10 mm
Hammer Bit 8 mm
Chisel Bit 14 inch
Marbal Cutter Machine - Bosch
2 Module GI Box - Havells
3 Module GI Box - Honeywell
6 Module GI Box - Honeywell
8 Module GI Box - Honeywell
9 Module GI Box - Honeywell
12 Module GI Box - Honeywell
Pvc Flexible Pipe 25 mm White
Aluminium Armoured Cable 3 C x 35 Sqmm
Yellow Paint
GI Fish Wire
Aluminium Scaffolding 4 x 2 Mtr
Aluminium Single Ladder 1 Mtr
Jointer Pipe
Stand Fan
CI Pit Cover 450 x 450 mm
GI Perf. Cable Tray 150 mm W x 50 mm D x 1.6 mm T - RMCON
GI Perf. Cable Tray 300 mm W x 50 mm D x 1.6 mm T - RMCON
GI Earthing Electrode Pipe 80 mm Dia 3 Mtr Long - VTR
Digital Megger 5000 V - Escorp
Digital Earth Tester - CEM
Welding Female Connector
Earth Enhancement Compound 25 Kg - VTR
GI Strip 25 x 6 mm - VTR
GI Strip 50 x 6 mm - VTR
4 Way TPN Double Door IP43 DB - L&T
8 Way TPN Double Door IP43 DB - L&T
10 Amp 2 Pole RCBO - L&T
20 Amp 2 Pole RCBO - L&T
32 Amp 4 Pole RCBO 300 MA - L&T
Welding Gloves
16 Amp 3 Pin plug Metal Top
GI Nut 10 mm
Anchor Bolt Fastener 10 mm x 100 mm
Combination Plier - Taparia
Wire Striper - Taparia
Side Cutter - Taparia
Tester - Taparia
Screw Driver (+ -) - Taparia
Screw Driver Set - Taparia
Holesaw Cutter 19 mm
Holesaw Cutter 22 mm
Holesaw Cutter 28 mm
Holesaw Cutter 32 mm
Holesaw Cutter 50 mm
10 Amp 1 Way Switch Coral - Havells
16 Amp 1 Way Switch Coral - Havells
6 Amp 3 Pin Socket Coral - Hevells
1M Fan Regulator Coral - Havells
2M Cover Plate Coral - Havells
3M Cover Plate Coral - Havells
6M Cover Plate Coral - Havells
8M Cover Plate Coral - Havells
12M Cover Plate Coral - Havells
6/16 Amp Socket Coral - Havells
25 Amp 2 Pole RCBO - L&T
16 Amp 1 Pole MCB - L&T
Female Top 16 Amp 3 Pin 3 Way
Grinder Machine AG-5 - Bosch
Zipson Peach 35 x 8 mm
Copper Flex. Wire FRLS 1 C x 2.5 mm Red - Finolex
Copper Flex. Wire FRLS 1 C x 2.5 mm Yellow - Finolex
Copper Flex. Wire FRLS 1 C x 2.5 mm Blue - Finolex
Copper Flex. Wire FRLS 1 C x 2.5 mm Black - Finolex
Copper Flex. Wire FRLS 1 C x 2.5 mm Green - Finolex
Copper Flex. Wire FRLS 1 C x 4 mm Red - Finolex
Copper Flex. Wire FRLS 1 C x 4 mm Yellow - Finolex
Copper Flex. Wire FRLS 1 C x 4 mm Blue - Finolex
Copper Flex. Wire FRLS 1 C x 4 mm Black - Finolex
Copper Flex. Wire FRLS 1 C x 4 mm Green - Finolex
Breaker Machine - Ralli Wolf
Hammer Machine Cordless - Bosch
Pvc Bend 25 mm MMS - AKG
12 Way TPN Double Door IP43 DB - L&T
Scaffolding Cuplock 5 C x 2.5 mm Height
Scaffolding Ledger 1 Mtr
Scaffolding Ledger 2 Mtr
Scaffolding Platform 1 Mtr
Scaffolding Platform 2 Mtr
Pvc Insulated Copper Lugs 2.5 Sqmm Ring Type (6 mm Hole) - Dowell's
Pvc Insulated Copper Lugs 4 Sqmm Ring Type (6 mm Hole) - Dowell's
Pvc Insulated Copper Lugs 2.5 Sqmm Pin Type - Dowell's
Pvc Insulated Copper Lugs 4 Sqmm Pin Type - Dowell's
Ferrule Printing Machine - Letatwin
Ferrule Tube 1.5 Sqmm
Ferrule Tube 2.5 Sqmm
Ferrule Tube 4 Sqmm
Bullet Fastener 8 mm
GI Nut 8 mm
GI Bolt 8 x 20 mm
Ms Blind Flange 1.5 inch
Ms Blind Flange 1.25 inch
MS ERW Pipe 100 NB Heavy - Jindal
MS ERW Pipe 80 NB Heavy - Jindal
MS ERW Pipe 150 NB Heavy - Jindal
MS ERW Pipe 65 NB Heavy - Jindal
MS ERW Pipe 50 NB Heavy - Jindal
MS ERW Pipe 40 NB Heavy - Jindal
MS ERW Pipe 32 NB Heavy - Jindal
MS ERW Pipe 25 NB Heavy - Jindal
10 Amp 1 Pole MCB - Havells
20 Amp 1 Pole MCB - Havells
63 Amp TPN 4 Pole MCB - Havells
40 Amp 2 Pole RCCB - Havells
Cutting Wheel AG-7
GI Bolt 10 x 40 mm
GI Bolt 10 x 50 mm